## Tabelle1
# T | Index | DateTime | Pmean | Ppeak | Pplat | etCO2 | f | MVe | Vte | vLeak | fccsv
# S | Index | DateTime | peep | pInsp | pInspCcsv | vt | freq | patientType | ventilationMode | flowSTP | pAsb | triggerOn | triggerInsp | triggerExp | pressureRamp | triggerCcsv | MVeHigh | MVeLow | etCO2Low_vol | CO2Unit | brightness | audioVolume | CO2Pump | blueTooth | triggerWindow | gasType | nvg | airmix | i2e | mute | flhCcsv | activeView | etCO2TrendXScale | fHigh | handsOffTime | apnoe | etCO2High_vol | pMax | cprDevice | triggerType | peepCCSV | triggerCcsvCprDev
# A | Index | DateTime | Pinput_low | Pinput_high | peep_high | Paw_low | apnoe | flow_unrealisable | temp_high | temp_crit | temp_low | airwayPressureHigh | Pinput_crit | handsOff_high | selftest_busy | leak_on_patient_side | device_error | noBattery | batteryDefective | batteryTempHigh | batteryWeak | batteryNearEmpty | batteryOperation | Medutrigger | MVeHigh | MVeLow | fHigh | etCO2High | etCO2Low | CO2Occlusion | CheckFlowCable | CheckFlowSensor | CO2defective | fHighCO2 | CO2TempLow | fLowCcsv | fHighCcsv | apneaMode | operator_code_default
I | 2 | 13.12.2021 14:49:27 | activeView=1 | airmix=no | allowMaintenanceSuppress=1 | allowMaintSuppress=1 | apnoe=30 | audioVolume=50 | autoAlarmLimit=30 | backupVent=1 | backupVentMode=IPPV | blueTooth=enabled | brightness=80 | btPairable=yes | CO2Pump=on | CO2Unit=mmHg | constFlow=0 | contRSIMode=IPPV | cprDevice=off | cprEtCO2Alarm=1 | cprFAlarm=1 | cprModeStart=man | cprMVeAlarm=1 | cprPause=4 | cprPMaxAlarm=1 | cprTick=tick | cprTickFreq=100 | cprTickStart=notick | CprView=view1 | emMode=IPPV | etCO2High_kPa=62 | etCO2High_mmHg=49 | etCO2High_vol=64 | etCO2Low_kPa=40 | etCO2Low_mmHg=27 | etCO2Low_vol=36 | etCO2TrendXScale=auto | fCcsvAlarm=1 | fHigh=13 | filterChangeDate=1597928390 | filterLifetime=84732 | filterLoad=norm | filterResetFC=no | flhCcsv=130_90 | flowSTP=0 | freq=10 | gasType=MedicalO2 | handsOffTime=25 | i2e=17 | language=deDE | lastFunctioncheck=1597928420 | lastPatientFlag=enable | maintenance=1661000439 | maintenanceSuppressed=0 | mute=0 | MVeHigh=1690 | MVeLow=910 | nightColors=0 | nvg=0 | nvgBrightness=1 | optAPCV=1 | optBiLevel=1 | optCCSV=1 | optCO2=1 | optCurves=1 | optDemand=1 | optEdcomm=1 | optFlow=1 | optInhal=1 | optLiveData=1 | optMT=1 | optNvg=1 | optPCV=1 | optPRVC=1 | optRSI=1 | optSIMV=1 | optSIPPV=1 | pAsb=0 | patientType=adult | peep=5 | peepCCSV=0 | peepWarning=11 | pinOpMode=0 | pInsp=20 | pInspCcsv=60 | pMax=30 | pMaxCpr=30 | powerCycles=63 | powerOffTime=1639406921 | pressureRamp=middle | rsiEtCO2Alarm=1 | rsiFAlarm=1 | rsiMVeAlarm=1 | RsiView=view1 | serialDevice=14638 | serialMainboard=0 | timeToBackup=30 | triggerCcsv=2 | triggerCcsvCprDev=3 | triggerExp=35 | triggerInsp=5 | triggerOn=0 | triggerType=simple | triggerWindow=20 | uptime=22714 | ventilationMode=IPPV | ventPauseTime=50 | version=1 | vt=1300 | vtKg=6
S | 3 | 13.12.2021 14:49:27 | 5 | 20 | 60 | 1300 | 10 | adult | IPPV | 0 | 0 | 0 | 5 | 35 | middle | 2 | 1690 | 910 | 36 | mmHg | 80 | 50 | on | enabled | 20 | MedicalO2 | 0 | no | 17 | 0 | 130_90 | 1 | auto | 13 | 25 | 30 | 64 | 30 | off | simple | 0 | 3
A | 4 | 13.12.2021 14:49:27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # (+) (-)
S | 5 | 13.12.2021 14:49:30 | 5 | 20 | 60 | 1300 | 10 | adult | IPPV | 0 | 0 | 0 | 5 | 35 | middle | 2 | 1690 | 910 | 36 | mmHg | 80 | 50 | on | enabled | 20 | MedicalO2 | 0 | yes | 17 | 0 | 130_90 | 1 | auto | 13 | 25 | 30 | 64 | 30 | off | simple | 0 | 3
A | 6 | 13.12.2021 14:49:53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # (+ MVeLow) (-)
S | 7 | 13.12.2021 14:50:05 | 5 | 20 | 60 | 1300 | 10 | adult | IPPV | 0 | 0 | 0 | 5 | 35 | middle | 2 | 5300 | 910 | 36 | mmHg | 80 | 50 | on | enabled | 20 | MedicalO2 | 0 | yes | 17 | 0 | 130_90 | 1 | auto | 13 | 25 | 30 | 64 | 30 | off | simple | 0 | 3
S | 8 | 13.12.2021 14:50:10 | 5 | 20 | 60 | 1300 | 10 | adult | IPPV | 0 | 0 | 0 | 5 | 35 | middle | 2 | 5300 | 710 | 36 | mmHg | 80 | 50 | on | enabled | 20 | MedicalO2 | 0 | yes | 17 | 0 | 130_90 | 1 | auto | 13 | 25 | 30 | 64 | 30 | off | simple | 0 | 3
S | 9 | 13.12.2021 14:50:15 | 5 | 20 | 60 | 1300 | 10 | adult | IPPV | 0 | 0 | 0 | 5 | 35 | middle | 2 | 5300 | 710 | 36 | mmHg | 80 | 50 | on | enabled | 20 | MedicalO2 | 0 | yes | 17 | 0 | 130_90 | 1 | auto | 25 | 25 | 30 | 64 | 30 | off | simple | 0 | 3
A | 10 | 13.12.2021 14:50:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # (+) (- MVeLow)
S | 11 | 13.12.2021 14:50:18 | 5 | 20 | 60 | 1300 | 10 | adult | IPPV | 0 | 0 | 0 | 5 | 35 | middle | 2 | 5300 | 550 | 36 | mmHg | 80 | 50 | on | enabled | 20 | MedicalO2 | 0 | yes | 17 | 0 | 130_90 | 1 | auto | 25 | 25 | 30 | 64 | 30 | off | simple | 0 | 3
T | 12 | 13.12.2021 14:50:27 | 4.74 | 11.11 | 8.01 | 3.05 | 10.17 | 5.50 | 688.25 | 56.91 | 0.00
S | 13 | 13.12.2021 14:50:32 | 5 | 20 | 60 | 1200 | 10 | adult | IPPV | 0 | 0 | 0 | 5 | 35 | middle | 2 | 5300 | 550 | 36 | mmHg | 80 | 50 | on | enabled | 20 | MedicalO2 | 0 | yes | 17 | 0 | 130_90 | 1 | auto | 25 | 25 | 30 | 64 | 30 | off | simple | 0 | 3
T | 14 | 13.12.2021 14:51:27 | 7.20 | 15.26 | 13.47 | 4.68 | 10.00 | 11.88 | 1209.77 | 8.18 | 0.00
T | 15 | 13.12.2021 14:52:27 | 7.23 | 14.49 | 13.66 | 4.73 | 10.00 | 12.11 | 1196.82 | 5.31 | 0.00
T | 16 | 13.12.2021 14:53:27 | 7.29 | 13.88 | 13.75 | 4.63 | 10.12 | 12.07 | 1164.80 | 6.65 | 0.00
T | 17 | 13.12.2021 14:54:27 | 7.24 | 15.81 | 12.85 | 4.49 | 10.10 | 11.84 | 1263.83 | 7.88 | 0.00
T | 18 | 13.12.2021 14:55:27 | 7.22 | 14.06 | 12.48 | 4.44 | 10.10 | 11.94 | 1115.65 | 5.41 | 0.00
S | 19 | 13.12.2021 14:56:03 | 5 | 20 | 60 | 500 | 10 | adult | PCV | 0 | 0 | 0 | 5 | 35 | middle | 2 | 5300 | 550 | 36 | mmHg | 80 | 50 | on | enabled | 20 | MedicalO2 | 0 | yes | 17 | 0 | 130_90 | 1 | auto | 25 | 25 | 30 | 64 | 30 | off | simple | 0 | 3
S | 20 | 13.12.2021 14:56:09 | 5 | 7 | 60 | 500 | 10 | adult | PCV | 0 | 0 | 0 | 5 | 35 | middle | 2 | 5300 | 550 | 36 | mmHg | 80 | 50 | on | enabled | 20 | MedicalO2 | 0 | yes | 17 | 0 | 130_90 | 1 | auto | 25 | 25 | 30 | 64 | 30 | off | simple | 0 | 3
S | 21 | 13.12.2021 14:56:13 | 5 | 12 | 60 | 500 | 10 | adult | PCV | 0 | 0 | 0 | 5 | 35 | middle | 2 | 5300 | 550 | 36 | mmHg | 80 | 50 | on | enabled | 20 | MedicalO2 | 0 | yes | 17 | 0 | 130_90 | 1 | auto | 25 | 25 | 30 | 64 | 30 | off | simple | 0 | 3
S | 22 | 13.12.2021 14:56:26 | 5 | 12 | 60 | 500 | 10 | adult | PCV | 0 | 0 | 0 | 5 | 35 | high | 2 | 5300 | 550 | 36 | mmHg | 80 | 50 | on | enabled | 20 | MedicalO2 | 0 | yes | 17 | 0 | 130_90 | 1 | auto | 25 | 25 | 30 | 64 | 30 | off | simple | 0 | 3
T | 23 | 13.12.2021 14:56:27 | 7.21 | 12.54 | 12.16 | 4.48 | 10.02 | 9.17 | 889.17 | 21.62 | 0.00
S | 24 | 13.12.2021 14:56:58 | 5 | 15 | 60 | 500 | 10 | adult | PCV | 0 | 0 | 0 | 5 | 35 | high | 2 | 5300 | 550 | 36 | mmHg | 80 | 50 | on | enabled | 20 | MedicalO2 | 0 | yes | 17 | 0 | 130_90 | 1 | auto | 25 | 25 | 30 | 64 | 30 | off | simple | 0 | 3
T | 25 | 13.12.2021 14:57:27 | 7.09 | 13.22 | 11.62 | 4.65 | 10.00 | 9.75 | 1074.23 | 9.19 | 0.00
T | 26 | 13.12.2021 14:58:27 | 8.64 | 15.82 | 14.41 | 4.41 | 10.00 | 12.53 | 1229.03 | 3.69 | 0.00
T | 27 | 13.12.2021 14:59:27 | 8.88 | 15.89 | 14.72 | 4.46 | 10.00 | 11.84 | 1174.83 | 2.46 | 0.00
T | 28 | 13.12.2021 15:00:27 | 8.87 | 15.98 | 14.77 | 4.42 | 10.00 | 10.97 | 1079.37 | 7.02 | 0.00
T | 29 | 13.12.2021 15:01:27 | 8.79 | 15.91 | 14.92 | 4.45 | 10.00 | 10.03 | 1010.50 | 8.62 | 0.00
T | 30 | 13.12.2021 15:02:27 | 8.61 | 15.93 | 15.00 | 4.50 | 10.00 | 10.05 | 1019.87 | 5.81 | 0.00